## Slide 1
EVIDENCE • TRADEOFFS • ACCOUNTABILITY
BEFORE WE BUILD
A citizen’s framework for evaluating the proposed data center
TOWN OF JANESVILLE • POLZIN / FENRIC ROAD PROPOSAL

## Slide 2
Three tests for a sound decision
BEFORE WE BUILD • TOWN OF JANESVILLE
02
01 / THE SITE
Is this the right location, compared with realistic industrial alternatives?
02 / THE PROJECT
Is the investment credible—and are community interests protected if forecasts prove wrong?

## Slide 3
What is known—and what remains unknown
BEFORE WE BUILD • TOWN OF JANESVILLE
03
Proposed location: agricultural land near homes in the Town of Janesville.
Potential advantage: proximity to major electrical infrastructure.
Still needed: full-build power and water demand, cooling design, operating jobs, noise modeling, groundwater plans.

## Slide 4
Land use is a long-term decision
BEFORE WE BUILD • TOWN OF JANESVILLE
04
THE CENTRAL TRADEOFF
A rural landscape and nearby homes may experience permanent industrial change.
THE EVIDENCE TO REQUEST
A documented comparison with existing industrial and previously developed sites, including environmental and infrastructure tradeoffs.

## Slide 5
Quality of life: measurable, enforceable
BEFORE WE BUILD • TOWN OF JANESVILLE
05
Independent nighttime and low-frequency noise modeling at nearby homes.
Lighting, construction traffic, setbacks, and visual impacts assessed before approval.
Post-opening measurements, complaint procedures, and funded corrective actions.

## Slide 6
Power and public exposure
BEFORE WE BUILD • TOWN OF JANESVILLE
06
WHAT MUST BE DISCLOSED
Peak electrical load; transmission and substation needs; phase-by-phase utility investments.
WHAT MUST BE PROTECTED
Ratepayers and taxpayers under full-build, delayed, partial-build, and cancelled scenarios.

## Slide 7
Water and groundwater
BEFORE WE BUILD • TOWN OF JANESVILLE
07
Disclose average and peak water use, source, cooling method, and hot-weather demand.
Require spill prevention, stormwater management, and treatment-chemical inventories.
Consider baseline private-well testing and groundwater monitoring near the site.

## Slide 8
A promise is not a commitment
BEFORE WE BUILD • TOWN OF JANESVILLE
08
ANNOUNCED INVESTMENT
Capital-expenditure announcements and construction-job totals describe intentions—not guaranteed outcomes.
VERIFIED COMMITMENT
Independent financing review, identified responsible entities, phased milestones, and enforceable financial security.

## Slide 9
What does the community actually gain?
BEFORE WE BUILD • TOWN OF JANESVILLE
09
Separate temporary construction work from steady-state operating FTEs.
Report direct employees, vendors, local hiring, and wages at 12 / 36 / 60 months.
Compare 20-year recurring fiscal benefits against incentives, exemptions, and public costs.

## Slide 10
Lessons from other communities
BEFORE WE BUILD • TOWN OF JANESVILLE
10
Mount Pleasant, WI: reported operational humming and questions about interpreting staffing figures.
Grant County, WI: a proposed multibillion-dollar development did not materialize.
Port Washington, WI: major electrical infrastructure plans required renewed regulatory review.
Fayette County, GA: previously unbilled water consumption required correction.
Washington state: public verification gaps in data-center incentive outcomes.

## Slide 11
Separate facts from assumptions
BEFORE WE BUILD • TOWN OF JANESVILLE
11
LESS USEFUL
“The developer says it will be quiet.”
“Billions will be invested.”
“Thousands of jobs.”
MORE USEFUL
Independent acoustical study + binding limits.
Verified financing + phased milestones.
Permanent FTEs + audited fiscal returns.

## Slide 12
Questions before approval
BEFORE WE BUILD • TOWN OF JANESVILLE
12
Why this site—and what alternatives were compared?
Who pays for infrastructure if the project is delayed or cancelled?
What are enforceable noise, water, and monitoring conditions?
What is the 20-year net fiscal result under multiple scenarios?
Which obligations survive ownership changes or insolvency?

## Slide 13
Decision standard
BEFORE WE BUILD • TOWN OF JANESVILLE
13
A projection describes what is expected.
An independent study tests whether it is plausible.
An enforceable condition defines what happens if it is wrong.

## Slide 14
Sources and scope
Selected sources from the frozen Before We Build — Sourced Edition
BEFORE WE BUILD • TOWN OF JANESVILLE
14
1. Microsoft: staffing / Mount Pleasant updates
2. Wisconsin Watch: Grant County proposal
3. Wisconsin PSC / WPR: Port Washington
4. E&E News: Fayette County water
5. ProPublica / Seattle Times: Washington incentives
Case studies illustrate issues to test; they do not predict outcomes for Janesville. Refer to the sourced Word report for complete citations.